## Sheet1
Label | Synonym (IAO_0000118) | Synonym | Parent | Parent ID | Definition (IAO_0000115) | Definition source (IAO_0000119) | Example of usage (IAO_0000112) | Function1 | Function1 URI | Function2 | Function2 URI | Function3 | Function3 URI | Main part1 | Main part1 URI | Main part2 | Main part2 URI | Main part3 | Main part3 URI | manufacturer | manufacturer URI | Term Editor (IAO_0000117) | Source (http://purl.org/dc/elements/1.1/source)
Genome Analyzer IIx | Illumina Genome Analyzer IIx | Illumina GA IIx | DNA sequencer | OBI_0400103 | A DNA sequencer which is manufactured by 454 Life Science Corporation and enables pyrosequencing to be performed. It comprises both optics and fluidics subsystems, which are controlled by a computer subsystem. The fluidics subsystem ensures accurate reagent dispensing. It consists of a reagents cassette (which holds the reagent containers), a sipper manifold, pumps, valves, and debubblers. The fluidics subsystem flows the sequencing reagents across the wells of the PicoTiterPlate device, and moves the spent reagents from the PicoTiterPlate device to the waste receptacle. The optics subsystem consists of a CCD camera and a camera controller. The camera captures the light emitted in the wells of the PicoTiterPlate device during each step of the sequencing cycle, and sends the digital images to the computer subsystem for processing. The computer controls the other Sequencer subsystems, and processes the digital images sent by the camera to extract the DNA sequence information. |  | PMID: 18946007.Pyrosequencing analysis of the oral microflora of healthy adults. Keijser BJ, Zaura E, Huse SM, van der Vossen JM, Schuren FH, Montijn RC, ten Cate JM, Crielaard W. J Dent Res. 2008 Nov;87(11):1016-20. | measure function (inherited from parent class) | [13 empty] | PERSON: Philippe Rocca-Serra
HiSeq 2000 | Illumina HiSeq 2000 |  | device | OBI_0000968 | A mass spectrometer is an instrument which is used to measure the mass to charge ratio of ions. All mass spectrometers consist of three basic parts: an ion source, a mass analyzer, and a detector system. The stages within the mass spectrometer are: 1. Production of ions from the sample 2. Separation of ions with different masses 3. Detection of the number of ions of each mass produced 4.Collection of data to generate the mass spectrum | http://en.wikipedia.org/wiki/Mass_spectrometry | LCQ Fleet Ion Trap MSn manufactured by thermo fisher scientific | measure function | OBI_0000453 |  |  |  |  | mass analyzer | OBI_0000345 | ion source | OBI_0000361 | ion detector | OBI_0000364 |  |  | PERSON: Frank Gibson
HiSeq 2500 | Illumina HiSeq 2500 |  | device | OBI_0000968 | A device that separates ions according to their mass-to-charge ratio. All mass spectrometers are based on dynamics of charged particles in electric and magnetic fields in vacuum where the two laws of Lorentz force law and Newton's second law of motion apply. | http://en.wikipedia.org/wiki/Mass_spectrometry#Mass_analyzer | The mass analyzer of the Voyager-DE(tm) STR Biospectrometry Workstation | measure function | OBI_0000453 | material separation function | OBI_0000372 | [10 empty] | PERSON: Frank Gibson, Daniel Schober
MiSeq | Illumina MiSeq
Methylation 450K BeadChip | Illumina Infinium Human Methylation 450K BeadChip
Methylation 27K BeadChip | Illumina Infinium Human Methylation 27K BeadChip
1M-Duo Infinium HD BeadChip | Illumina Human 1M-Duo Infinium HD BeadChip
SOLiD 3 Plus System | Applied Biosystems SOLiD 3 Plus System
Mouse 385K Whole Genome CGH Tiling Array | Nimblegen Mouse 385K Whole Genome CGH Tiling Array
Mouse 3x720K Whole Genome CGH Tiling Array | Nimblegen Mouse 3x720K Whole Genome CGH Tiling Array
Human 3x720K Whole Genome CGH Tiling Array | Nimblegen Human 3x720K Whole Genome CGH Tiling Array
Human 2.1M Whole-Genome CGH Tiling Array v2.0 | Nimblegen Human 2.1M Whole-Genome CGH Tiling Array v2.0
PacBio RS II | Pacific Biosciences RS II